## Лист1
log_lvl	prio		path/func()	filename:str	color	syslog
1	1	ALERT	-	-		+	Stop execution & exit
2	2	ERROR	-	-		+	PLC/register unavailable
4	4	WARNING	-	-		+	--
5	5	NOTICE	-	-		+	Regular info, connect, restart, exit, etc
6	6	INFO	-	-		-	Other
7	7	DEBUG	-	+		-	Full detials
8		*	-	+	+	-	Fname - ALL, Syslog — by config,
9		*	+	+	+	+	Fname&func() - ALL, Syslog - ALL,